# Variation Request Q-2021-06A-REV1

Client: Harborstone Manufacturing

Project: Electrical Reliability Audit

Project Code: HM-ELE-REL-AUD-2021

Quote Number: Q-2021-06A-REV1

Reference: Q-2021-06A

Date: 2021-06-14

Reason: Additional cable isolation point verification and standby labour requested after shutdown sequence review.

Change: Add one electrical test technician for the night shift and extend elevated work platform hire by one day.

Approval Path: Submit revised quotation to site maintenance planner for PO uplift.